## Sheet1
Ann Clin Microbiol 2025;28(3):16. Current status of mycobacterial identification in clinical laboratories in Korea
Table 3. Characteristics of immunochromatography assays for M. tuberculosis complex
Assay | Type | Target | Time to result | Media | Performance | Manufacturer, headquarters
SD BiolineTM TB Ag MPT64 | Device | MPT64 Ag | 15 min | Solid culture | Sensitivity: 98.6% | Abbott, Korea
|  |  |  | Liquid culture | Specificity: 100%
STANDARD Q TB MPT64 Ag | Device | MPT64 Ag | 10 min | Solid culture | Sensitivity: 100% | SD Biosensor, Korea
|  |  |  | Liquid culture | Specificity: 100%
CapiliaTM TB-Neo | Device | MPT64 Ag | 15 min | Solid culture | Sensitivity: 99.4% | TAUNS Laboratories, Japan
|  |  |  | Liquid culture | Specificity: 100%
BD MGITTM TBc Identification Test | Device | MPT64 Ag | 15 min | Use only AFB smear-positive BD MGITTM tubes | Sensitivity: 98.5% | Becton Dickinson, USA
Specificity: 100%
Abbreviations: MPT64, Mycobacterium tuberculosis protein 64; AFB, acid-fast bacilli.